## Important Disclaimer
Important Disclaimer
This information is produced by Jemena Asset Management (JAM) in accordance with the requirements of clause 101B of the National Gas Rules (NGR).
Calculation Philosophy
Entry points are used to calculate the injection into the network. Where pipeline entry point data is unknown, exit point data is used to estimate.
Notes
No confidental customer data is published.

## Monthly & Daily
Nowra - Monthly & Daily Injections (TJ)
Table Number | Description |  | Clause of National Gas Regulations Satified
1 | Daily Injections |  | 101B(4)(b)(i)
2 | Large Distribution Pipeline Hourly Flow Data |  | 101B(4)(b)(ii) & 101B(4)(b)(iii)
Nowra Total Monthly Injections Clause 101B(4) of the National Gas Rules
Date | Location
Month | Nowra Gas Network
June | 17.5571
Note: Daily energy flows are cumulative for the 24hr gas day
TABLE 1
Nowra Total Daily Injections Clause 101B(4)(b)(i) of the National Gas Rules
Facility | Nowra CTS | Bomaderry CTS | Daily Total
Network From | EGP Transmission | EGP Transmission
2025-06-01 | 0.25525 | 0.22306 | 0.47831
2025-06-02 | 0.31138 | 0.22544 | 0.53681
2025-06-03 | 0.31162 | 0.22162 | 0.53325
2025-06-04 | 0.368 | 0.23981 | 0.60781
2025-06-05 | 0.37075 | 0.24063 | 0.61138
2025-06-06 | 0.30738 | 0.228 | 0.53538
2025-06-07 | 0.26831 | 0.21881 | 0.48712
2025-06-08 | 0.29375 | 0.22206 | 0.51581
2025-06-09 | 0.3615 | 0.23838 | 0.59988
2025-06-10 | 0.383 | 0.23581 | 0.61881
2025-06-11 | 0.36194 | 0.23844 | 0.60037
2025-06-12 | 0.38388 | 0.245 | 0.62887
2025-06-13 | 0.3985 | 0.25344 | 0.65194
2025-06-14 | 0.3085 | 0.24363 | 0.55212
2025-06-15 | 0.33231 | 0.23831 | 0.57063
2025-06-16 | 0.39387 | 0.24756 | 0.64144
2025-06-17 | 0.40331 | 0.24625 | 0.64956
2025-06-18 | 0.3905 | 0.25144 | 0.64194
2025-06-19 | 0.40494 | 0.26056 | 0.6655
2025-06-20 | 0.36612 | 0.25581 | 0.62194
2025-06-21 | 0.31575 | 0.249 | 0.56475
2025-06-22 | 0.30381 | 0.23525 | 0.53906
2025-06-23 | 0.29625 | 0.22475 | 0.521
2025-06-24 | 0.30775 | 0.21912 | 0.52687
2025-06-25 | 0.39787 | 0.23394 | 0.63181
2025-06-26 | 0.40731 | 0.24963 | 0.65694
2025-06-27 | 0.36225 | 0.25169 | 0.61394
2025-06-28 | 0.31206 | 0.2435 | 0.55556
2025-06-29 | 0.31675 | 0.23919 | 0.55594
2025-06-30 | 0.39681 | 0.2455 | 0.64231

## Hourly
Nowra - Hourly Flow Data
Table Key
Entry Point | Energy flow into Nowra Network and pressure at which it is delivered (Inlet of receipt)
Exit Point | Energy flow out of Nowra Network and pressure it is taken at (Inlet of station)
Note: Hourly energy flows are cumulative for the gas day. They are presented as the cumulative flow at the end of each hour, through the day, commencing at 0600 AEST
Trunk Section | Eastern Gas Pipeline (EGP) |  |  |  | South Nowra Primary Main (SNPM) |  | North Nowra Primary Main (SNPM)
Entry / Exit Point | Nowra CTS |  | Bomaderry CTS |  | Stringybark PRS |  | Bolong Road PRS
Parameter | Energy (TJ) | Minimum Pressure (kPa) | Energy (TJ) | Minimum Pressure (kPa) | Energy (TJ) | Minimum Pressure (kPa) | Energy (TJ) | Minimum Pressure (kPa)
Network From & To | EGP Transmission | South Nowra Primary Main (SNPM) | EGP Transmission | North Nowra Primary Main (NNPM) | South Nowra Primary Main (SNPM) | Nowra Distribution | North Nowra Primary Main (NNPM) | Nowra Distribution
2025-06-01 | 0.0037783 |  | 0.0080948 |  | Data Not Available |  | Data Not Available
2025-06-01 01:00 | 0.0028132 | 10701.2441 | 0.0081871 | 10562.7402 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-01 02:00 | 0.0022998 | 10786.6777 | 0.008254 | 10653.6484 | Data Not Available | 7342 | Data Not Available | 5852
2025-06-01 03:00 | 0.0030684 | 10868.0254 | 0.0083956 | 10736.1279 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-01 04:00 | 0.003376 | 10986.1816 | 0.0068311 | 10870.4746 | Data Not Available | 7358 | Data Not Available | 5855
2025-06-01 05:00 | 0.0038811 | 11112.0273 | 0.0086312 | 11006.8252 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-01 06:00 | 0.0024518 | 11222.1719 | 0.0087499 | 11126.7578 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-01 07:00 | 0.0041388 | 11327.5918 | 0.0088292 | 11233.4844 | Data Not Available | 7323 | Data Not Available | 5859
2025-06-01 08:00 | 0.0089392 | 11381.0215 | 0.010532 | 11306.9688 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-01 09:00 | 0.016187 | 11389.3535 | 0.010457 | 11330.459 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-01 10:00 | 0.017048 | 11400.9277 | 0.0086565 | 11347.3203 | Data Not Available | 7317 | Data Not Available | 5833
2025-06-01 11:00 | 0.017432 | 11421.2344 | 0.010352 | 11367.9258 | Data Not Available | 7311 | Data Not Available | 5827
2025-06-01 12:00 | 0.012025 | 11454.0391 | 0.010316 | 11403.0107 | Data Not Available | 7301 | Data Not Available | 5824
2025-06-01 13:00 | 0.0072358 | 11478.2305 | 0.0086022 | 11435.8643 | Data Not Available | 7295 | Data Not Available | 5824
2025-06-01 14:00 | 0.0053509 | 11507.3086 | 0.010268 | 11466.3164 | Data Not Available | 7298 | Data Not Available | 5824
2025-06-01 15:00 | 0.0042422 | 11538.9512 | 0.0084899 | 11492.5449 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-01 16:00 | 0.0080198 | 11522.6895 | 0.0085536 | 11449.3916 | Data Not Available | 7311 | Data Not Available | 5830
2025-06-01 17:00 | 0.016126 | 11441.9023 | 0.010309 | 11347.5791 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-01 18:00 | 0.023336 | 11323.627 | 0.011996 | 11209.3057 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-01 19:00 | 0.027342 | 11165.0176 | 0.011868 | 11031.7979 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-01 20:00 | 0.018668 | 11079.584 | 0.01003 | 10943.1035 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-01 21:00 | 0.0077383 | 11046.9414 | 0.011732 | 10914.7578 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-01 22:00 | 0.0066635 | 11046.7812 | 0.0084339 | 10914.5625 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-01 23:00 | 0.0060814 | 11059.5586 | 0.010241 | 10923.5762 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-02 | 0.0010715 | 11104.1758 | 0.0069035 | 10964.1465 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-02 01:00 | 0.0036271 | 11201.8652 | 0.0087792 | 11090.4375 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-02 02:00 | 0.0021425 | 11303.4805 | 0.0088994 | 11207.6299 | Data Not Available | 7349 | Data Not Available | 5859
2025-06-02 03:00 | 0.0041266 | 11397.043 | 0.0090141 | 11308.1533 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-02 04:00 | 0.0038621 | 11539.3105 | 0.0073452 | 11471.3271 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-02 05:00 | 0.0077422 | 11669.6836 | 0.0093264 | 11615.8252 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-02 06:00 | 0.0067905 | 11792.0039 | 0.011282 | 11748.6768 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-02 07:00 | 0.022128 | 11873.2324 | 0.009309 | 11814.3857 | Data Not Available | 7323 | Data Not Available | 5859
2025-06-02 08:00 | 0.024267 | 11633.1953 | 0.010897 | 11571.2285 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-02 09:00 | 0.021872 | 11478.5918 | 0.0088915 | 11411.9971 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-02 10:00 | 0.014095 | 11435.8535 | 0.010531 | 11381.1807 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-02 11:00 | 0.018787 | 11429.5254 | 0.010336 | 11358.082 | Data Not Available | 7304 | Data Not Available | 5824
2025-06-02 12:00 | 0.0094555 | 11396.8828 | 0.010193 | 11315.667 | Data Not Available | 7304 | Data Not Available | 5830
2025-06-02 13:00 | 0.014397 | 11372.3711 | 0.010131 | 11286.6064 | Data Not Available | 7311 | Data Not Available | 5830
2025-06-02 14:00 | 0.013327 | 11351.9434 | 0.010041 | 11266.8027 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-02 15:00 | 0.013987 | 11331.6367 | 0.008328 | 11242.0518 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-02 16:00 | 0.0074953 | 11294.8691 | 0.0083208 | 11192.4785 | Data Not Available | 7304 | Data Not Available | 5833
2025-06-02 17:00 | 0.014836 | 11270.5566 | 0.011762 | 11172.4658 | Data Not Available | 7311 | Data Not Available | 5836
2025-06-02 18:00 | 0.021973 | 11246.2051 | 0.01192 | 15.8326 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-02 19:00 | 0.017848 | 11213.6016 | 0.011879 | 11108.6748 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-02 20:00 | 0.018843 | 11132.6543 | 0.010128 | 11004.6797 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-02 21:00 | 0.01157 | 11075.3789 | 0.01005 | 10940.8389 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-02 22:00 | 0.0071726 | 11035.0449 | 0.010008 | 10895.957 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-02 23:00 | 0.0043255 | 11018.4238 | 0.0083744 | 10877.5537 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-03 | 0.0035075 | 11026.4746 | 0.008519 | 10888.7227 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-03 01:00 | 0.0029037 | 11147.7148 | 0.006949 | 11038.8652 | Data Not Available | 7349 | Data Not Available | 5852
2025-06-03 02:00 | 0.0027597 | 11307.7656 | 0.0070803 | 11217.2744 | Data Not Available | 7342 | Data Not Available | 5852
2025-06-03 03:00 | 0.0040869 | 11457.8438 | 0.0072133 | 11376.5166 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-03 04:00 | 0.0029174 | 11588.2148 | 0.0073417 | 11515.4365 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-03 05:00 | 0.0064114 | 11706.332 | 0.007384 | 11638.7363 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-03 06:00 | 0.016818 | 11807.8262 | 0.0093322 | 11745.5254 | Data Not Available | 7330 | Data Not Available | 5859
2025-06-03 07:00 | 0.019966 | 11897.5039 | 0.011223 | 11838.8867 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-03 08:00 | 0.028074 | 11897.3828 | 0.011122 | 11840.8643 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-03 09:00 | 0.02148 | 11810.2285 | 0.010946 | 11756.6855 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-03 10:00 | 0.018606 | 11734.9688 | 0.0089776 | 11681.583 | Data Not Available | 7317 | Data Not Available | 5836
2025-06-03 11:00 | 0.011749 | 11681.5391 | 0.0088587 | 11617.7764 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-03 12:00 | 0.015301 | 11612.5273 | 0.010493 | 11557.4629 | Data Not Available | 7301 | Data Not Available | 5824
2025-06-03 13:00 | 0.0083527 | 11563.9434 | 0.0086978 | 11505.7656 | Data Not Available | 7292 | Data Not Available | 5824
2025-06-03 14:00 | 0.0071885 | 11516.2402 | 0.0085812 | 11452.1104 | Data Not Available | 7295 | Data Not Available | 5827
2025-06-03 15:00 | 0.0022649 | 11465.9336 | 0.010139 | 11404.5693 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-03 16:00 | 0.0093398 | 11429.6055 | 0.010189 | 11358.0635 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-03 17:00 | 0.017524 | 11396.8438 | 0.010399 | 11326.625 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-03 18:00 | 0.024246 | 11364.6406 | 0.01215 | 11295.5322 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-03 19:00 | 0.024914 | 11331.877 | 0.012207 | 14.7619 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-03 20:00 | 0.019376 | 11299.7539 | 0.012231 | 11234.0205 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-03 21:00 | 0.011795 | 11295.3086 | 0.010405 | 11224.4443 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-03 22:00 | 0.011378 | 11291.0234 | 0.0069309 | 11219.1592 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-03 23:00 | 0.0099792 | 11291.1035 | 0.0069821 | 11219.1689 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-04 | 0.0026738 | 11291.1426 | 0.0070003 | 11219.5605 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-04 01:00 | 0.0032442 | 11286.9785 | 0.0087391 | 11211.0752 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-04 02:00 | 0.0022162 | 11275.123 | 0.0087084 | 11201.8965 | Data Not Available | 7346 | Data Not Available | 5849
2025-06-04 03:00 | 0.0037135 | 11266.8711 | 0.0086748 | 13.9055 | Data Not Available | 7330 | Data Not Available | 5849
2025-06-04 04:00 | 0.0023736 | 11258.3398 | 0.0087361 | 11183.9316 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-04 05:00 | 0.0038804 | 11250.4492 | 0.0052694 | 11173.5566 | Data Not Available | 7307 | Data Not Available | 5852
2025-06-04 06:00 | 0.0066125 | 11234.2285 | 0.0087487 | 11158.8174 | Data Not Available | 7314 | Data Not Available | 5855
2025-06-04 07:00 | 0.025936 | 11210.4766 | 0.0087064 | 11139.4775 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-04 08:00 | 0.018502 | 11173.2285 | 0.012127 | 11101.1768 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-04 09:00 | 0.013513 | 11140.9844 | 0.010246 | 11066.4092 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-04 10:00 | 0.023134 | 11108.7422 | 0.011953 | 11035.8926 | Data Not Available | 7320 | Data Not Available | 5849
2025-06-04 11:00 | 0.019256 | 11087.9961 | 0.010217 | 11013.3652 | Data Not Available | 7314 | Data Not Available | 5846
2025-06-04 12:00 | 0.021594 | 11055.3125 | 0.010111 | 10992.3467 | Data Not Available | 7314 | Data Not Available | 5846
2025-06-04 13:00 | 0.015304 | 11043.377 | 0.010009 | 10969.1445 | Data Not Available | 7304 | Data Not Available | 5843
2025-06-04 14:00 | 0.013859 | 11018.3438 | 0.011733 | 10948.8545 | Data Not Available | 7307 | Data Not Available | 5843
2025-06-04 15:00 | 0.0082827 | 19.0254 | 0.010048 | 10932.0586 | Data Not Available | 7304 | Data Not Available | 5843
2025-06-04 16:00 | 0.012347 | 10961.748 | 0.0099713 | 10879.5293 | Data Not Available | 7304 | Data Not Available | 5843
2025-06-04 17:00 | 0.02207 | 10904.834 | 0.011566 | 10809.0342 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-04 18:00 | 0.029389 | 10766.7715 | 0.014892 | 10654.6406 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-04 19:00 | 0.027574 | 10526.6543 | 0.011264 | 10386.0752 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-04 20:00 | 0.023033 | 10327.1113 | 0.012465 | 10155.8018 | Data Not Available | 7342 | Data Not Available | 5849
2025-06-04 21:00 | 0.018756 | 10319.3008 | 0.010959 | 10141.8916 | Data Not Available | 7346 | Data Not Available | 5849
2025-06-04 22:00 | 0.011502 | 10339.5273 | 0.0095845 | 10145.1865 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-04 23:00 | 0.0038651 | 10384.3457 | 0.0080979 | 10184.8936 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-05 | 0.0035096 | 10559.1777 | 0.0066245 | 10378.4863 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-05 01:00 | 0.0038291 | 10734.3691 | 0.010194 | 10564.0723 | Data Not Available | 7352 | Data Not Available | 5852
2025-06-05 02:00 | 0.0042447 | 10892.8984 | 0.0086413 | 10736.8965 | Data Not Available | 7365 | Data Not Available | 5855
2025-06-05 03:00 | 0.002947 | 11042.8555 | 0.0087221 | 10894.5361 | Data Not Available | 7368 | Data Not Available | 5855
2025-06-05 04:00 | 0.015118 | 11181.8398 | 0.0088359 | 11042.2148 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-05 05:00 | 0.0048414 | 11304.7617 | 0.0072194 | 11.4128 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-05 06:00 | 0.012576 | 11421.4355 | 0.0091099 | 11296.7627 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-05 07:00 | 0.022011 | 11519.7246 | 0.010828 | 11400.8467 | Data Not Available | 7326 | Data Not Available | 5859
2025-06-05 08:00 | 0.027278 | 11510.9941 | 0.012485 | 11426.8389 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-05 09:00 | 0.02247 | 11462.2891 | 0.010662 | 11393.2617 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-05 10:00 | 0.01868 | 11449.9121 | 0.010656 | 11377.3984 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-05 11:00 | 0.020284 | 11445.748 | 0.010639 | 11376.3506 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-05 12:00 | 0.018574 | 11445.9473 | 0.0088375 | 11376.9863 | Data Not Available | 7295 | Data Not Available | 5830
2025-06-05 13:00 | 0.021487 | 11449.7129 | 0.010533 | 11378.3613 | Data Not Available | 7301 | Data Not Available | 5830
2025-06-05 14:00 | 0.0098947 | 11453.918 | 0.0087349 | 11382.3779 | Data Not Available | 7298 | Data Not Available | 5830
2025-06-05 15:00 | 0.016989 | 11441.9023 | 0.00863 | 11389.9932 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-05 16:00 | 0.0099331 | 11364.7598 | 0.0086065 | 11295.8652 | Data Not Available | 7307 | Data Not Available | 5836
2025-06-05 17:00 | 0.022653 | 11242.7988 | 0.012057 | 11162.6445 | Data Not Available | 7311 | Data Not Available | 5846
2025-06-05 18:00 | 0.02708 | 11120.4375 | 0.011975 | 11023.9365 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-05 19:00 | 0.025014 | 11018.7832 | 0.013621 | 10898.8057 | Data Not Available | 7330 | Data Not Available | 5849
2025-06-05 20:00 | 0.027367 | 10905.3145 | 0.011726 | 10758.6025 | Data Not Available | 7336 | Data Not Available | 5849
2025-06-05 21:00 | 0.026941 | 10872.5117 | 0.011716 | 10697.0264 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-05 22:00 | 0.013989 | 10823.7656 | 0.010005 | 10639.9746 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-05 23:00 | 0.0088757 | 10815.2754 | 0.0084454 | 10629.7324 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-06 | 0.0035478 | 10844.1934 | 0.0085753 | 10673.0742 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-06 01:00 | 0.0037072 | 10938.1172 | 0.0087219 | 10801.0859 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-06 02:00 | 0.0037669 | 11051.5879 | 0.0088237 | 10929.1387 | Data Not Available | 7361 | Data Not Available | 5859
2025-06-06 03:00 | 0.003415 | 11161.252 | 0.0088807 | 11055.3828 | Data Not Available | 7358 | Data Not Available | 5862
2025-06-06 04:00 | 0.0036171 | 11274.8828 | 0.0089302 | 11170.1924 | Data Not Available | 7358 | Data Not Available | 5862
2025-06-06 05:00 | 0.015637 | 11340.6094 | 0.0090224 | 11251.0332 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-06 06:00 | 0.013317 | 11392.3574 | 0.012642 | 11307.8203 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-06 07:00 | 0.019695 | 11348.5801 | 0.0089552 | 11248.0957 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-06 08:00 | 0.021759 | 11271.0762 | 0.012161 | 11163.3135 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-06 09:00 | 0.020913 | 11198.0605 | 0.010234 | 11090.0947 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-06 10:00 | 0.01684 | 11152.8809 | 0.011809 | 11041.8691 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-06 11:00 | 0.014433 | 11117.0332 | 0.0099951 | 11009.6045 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-06 12:00 | 0.010908 | 11091.8398 | 0.0098808 | 10982.0273 | Data Not Available | 7304 | Data Not Available | 5827
2025-06-06 13:00 | 0.017657 | 11079.625 | 0.0097997 | 10958.0488 | Data Not Available | 7292 | Data Not Available | 5827
2025-06-06 14:00 | 0.0070391 | 11067.4082 | 0.009807 | 10948.3906 | Data Not Available | 7301 | Data Not Available | 5827
2025-06-06 15:00 | 0.0052542 | 11075.6992 | 0.0098427 | 10957.9473 | Data Not Available | 7304 | Data Not Available | 5830
2025-06-06 16:00 | 0.019387 | 11116.7129 | 0.0099537 | 11008.3242 | Data Not Available | 7317 | Data Not Available | 5836
2025-06-06 17:00 | 0.023766 | 11129.0098 | 0.011623 | 11012.998 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-06 18:00 | 0.026588 | 11092.1211 | 0.0099595 | 10974.7529 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-06 19:00 | 0.022484 | 11049.3438 | 0.011591 | 10930.6201 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-06 20:00 | 0.018921 | 15.1753 | 0.0098176 | 10803.7559 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-06 21:00 | 0.013985 | 10799.1348 | 0.0097687 | 10702.2285 | Data Not Available | 7317 | Data Not Available | 5843
2025-06-06 22:00 | 0.010414 | 10778.748 | 0.0081629 | 10687.6924 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-06 23:00 | 0.0034533 | 10803.3398 | 0.0066217 | 10718.5283 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-07 | 0.0094114 | 10847.5586 | 0.0098955 | 10768.167 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-07 01:00 | 0.0032025 | 10884.8867 | 0.0082148 | 10809.3701 | Data Not Available | 7336 | Data Not Available | 5846
2025-06-07 02:00 | 0.0023345 | 10908.998 | 0.0066054 | 10836.8008 | Data Not Available | 7342 | Data Not Available | 5846
2025-06-07 03:00 | 0.0023891 | 10949.8125 | 0.0083433 | 10877.9395 | Data Not Available | 7339 | Data Not Available | 5846
2025-06-07 04:00 | 0.0030481 | 10986.4219 | 0.006692 | 10918.7441 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-07 05:00 | 0.0032044 | 11030.8398 | 0.0083947 | 10959.1699 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-07 06:00 | 0.021747 | 11067.8887 | 0.0084478 | 10998.3691 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-07 07:00 | 0.016851 | 11104.457 | 0.0084854 | 11037.7725 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-07 08:00 | 0.01169 | 11157.4062 | 0.010201 | 11093.5293 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-07 09:00 | 0.014873 | 11201.7852 | 0.00853 | 11141.79 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-07 10:00 | 0.013016 | 11230.9844 | 0.010208 | 11185.6309 | Data Not Available | 7317 | Data Not Available | 5836
2025-06-07 11:00 | 0.011772 | 11279.207 | 0.010232 | 11227.7832 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-07 12:00 | 0.013194 | 11327.8711 | 0.010232 | 11267.918 | Data Not Available | 7304 | Data Not Available | 5833
2025-06-07 13:00 | 0.012791 | 11352.2246 | 0.0085442 | 11304.668 | Data Not Available | 7298 | Data Not Available | 5833
2025-06-07 14:00 | 0.022004 | 11388.9922 | 0.01028 | 11341.7939 | Data Not Available | 7298 | Data Not Available | 5833
2025-06-07 15:00 | 0.0085699 | 11426.1211 | 0.010417 | 11379.3115 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-07 16:00 | 0.0081061 | 11462.4102 | 0.0088132 | 11417.8037 | Data Not Available | 7317 | Data Not Available | 5843
2025-06-07 17:00 | 0.0213 | 11507.0684 | 0.010666 | 11459.7402 | Data Not Available | 7320 | Data Not Available | 5849
2025-06-07 18:00 | 0.021659 | 14.4889 | 0.010628 | 11415.0791 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-07 19:00 | 0.021736 | 11417.6699 | 0.0088422 | 11351.6211 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-07 20:00 | 0.01616 | 11397.2832 | 0.010572 | 11333.0879 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-07 21:00 | 0.0061693 | 11397.2832 | 0.01061 | 11332.5918 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-07 22:00 | 0.0099348 | 11397.2031 | 0.0088481 | 11313.082 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-07 23:00 | 0.0035816 | 11385.1875 | 0.0089476 | 11305.5527 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-08 | 0.0034147 | 11425.4805 | 0.0054145 | 11357.3574 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-08 01:00 | 0.0040354 | 11527.8164 | 0.009112 | 11469.6885 | Data Not Available | 7352 | Data Not Available | 5852
2025-06-08 02:00 | 0.0035217 | 11625.1445 | 0.0073674 | 11574.9609 | Data Not Available | 7342 | Data Not Available | 5852
2025-06-08 03:00 | 0.0036696 | 11718.707 | 0.0073589 | 11668.5576 | Data Not Available | 7342 | Data Not Available | 5852
2025-06-08 04:00 | 0.0034114 | 11804.0605 | 0.0074593 | 11756.623 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-08 05:00 | 0.0042751 | 11881.2031 | 0.0094746 | 11840.7344 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-08 06:00 | 0.0034663 | 11967.1562 | 0.0094461 | 11921.874 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-08 07:00 | 0.0066713 | 11901.6699 | 0.0074806 | 11873.6689 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-08 08:00 | 0.013794 | 11848.5996 | 0.0074241 | 11817.0049 | Data Not Available | 7317 | Data Not Available | 5855
2025-06-08 09:00 | 0.013051 | 11807.8652 | 0.0092239 | 11772.2129 | Data Not Available | 7314 | Data Not Available | 5849
2025-06-08 10:00 | 0.017321 | 11771.377 | 0.00912 | 11735.7129 | Data Not Available | 7314 | Data Not Available | 5846
2025-06-08 11:00 | 0.016395 | 11751.0312 | 0.010923 | 11711.29 | Data Not Available | 7307 | Data Not Available | 5839
2025-06-08 12:00 | 0.009555 | 11730.7246 | 0.0090398 | 11690.7314 | Data Not Available | 7298 | Data Not Available | 5836
2025-06-08 13:00 | 0.015473 | 11706.1309 | 0.01085 | 11665.25 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-08 14:00 | 0.014366 | 11685.9043 | 0.0090198 | 11642.0967 | Data Not Available | 7307 | Data Not Available | 5839
2025-06-08 15:00 | 0.0088074 | 11669.6035 | 0.008985 | 11622.2617 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-08 16:00 | 0.013422 | 11657.3066 | 0.0090507 | 11605.2822 | Data Not Available | 7311 | Data Not Available | 5849
2025-06-08 17:00 | 0.018721 | 11657.4668 | 0.010953 | 11603.8311 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-08 18:00 | 0.020743 | 11661.4316 | 0.010969 | 11604.1807 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-08 19:00 | 0.023491 | 11673.6875 | 0.010915 | 11612.125 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-08 20:00 | 0.01815 | 11693.916 | 0.010955 | 11633.3652 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-08 21:00 | 0.017031 | 11726.7578 | 0.0092071 | 11671.165 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-08 22:00 | 0.0084301 | 11763.4062 | 0.0092548 | 11712.1934 | Data Not Available | 7323 | Data Not Available | 5859
2025-06-08 23:00 | 0.0027891 | 11803.8594 | 0.0092885 | 11746.374 | Data Not Available | 7326 | Data Not Available | 5859
2025-06-09 | 0.0027898 | 11844.834 | 0.007511 | 11787.3057 | Data Not Available | 7323 | Data Not Available | 5859
2025-06-09 01:00 | 0.004259 | 11897.9043 | 0.0076333 | 11840.7764 | Data Not Available | 7326 | Data Not Available | 5859
2025-06-09 02:00 | 0.0046083 | 11946.1289 | 0.0076929 | 11889.7598 | Data Not Available | 7326 | Data Not Available | 5859
2025-06-09 03:00 | 0.0027426 | 11978.6914 | 0.0057833 | 11926.4785 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-09 04:00 | 0.0036033 | 11999.1973 | 0.007704 | 11952.4482 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-09 05:00 | 0.0046108 | 12019.4648 | 0.0096303 | 11972.8633 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-09 06:00 | 0.012096 | 12044.1367 | 0.0077761 | 11995.9697 | Data Not Available | 7323 | Data Not Available | 5862
2025-06-09 07:00 | 0.011519 | 12064.3633 | 0.009847 | 12019.1533 | Data Not Available | 7326 | Data Not Available | 5862
2025-06-09 08:00 | 0.01367 | 12076.4199 | 0.0098508 | 12034.8447 | Data Not Available | 7323 | Data Not Available | 5862
2025-06-09 09:00 | 0.024216 | 12084.5898 | 0.0098263 | 12044.1113 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-09 10:00 | 0.018539 | 12096.9277 | 0.0098303 | 12056.6055 | Data Not Available | 7317 | Data Not Available | 5852
2025-06-09 11:00 | 0.024239 | 12109.0625 | 0.0098453 | 12068.8145 | Data Not Available | 7314 | Data Not Available | 5849
2025-06-09 12:00 | 0.021381 | 12121.3594 | 0.0099141 | 12083.4512 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-09 13:00 | 0.026211 | 12145.8711 | 0.0101 | 12100.9326 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-09 14:00 | 0.017537 | 12157.9668 | 0.010031 | 12121.3447 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-09 15:00 | 0.018445 | 12227.1797 | 0.01004 | 12180.125 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-09 16:00 | 0.021956 | 12349.0996 | 0.0101 | 12285.7783 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-09 17:00 | 0.020406 | 12402.0098 | 0.01218 | 12337.3799 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-09 18:00 | 0.026645 | 12401.6895 | 0.012151 | 12325.8604 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-09 19:00 | 0.027411 | 12344.8145 | 0.012023 | 12262.6748 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-09 20:00 | 0.019864 | 12292.0645 | 0.0099523 | 12206.3398 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-09 21:00 | 0.013121 | 12267.793 | 0.0099129 | 12189.5293 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-09 22:00 | 0.010637 | 12267.2715 | 0.0079203 | 12189.5547 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-09 23:00 | 0.003699 | 12280.0488 | 0.0079726 | 12205.4922 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-10 | 0.0023302 | 12284.5742 | 0.0079818 | 12249.585 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-10 01:00 | 0.0035499 | 11.558 | 0.0080112 | 12257.8896 | Data Not Available | 7314 | Data Not Available | 5852
2025-06-10 02:00 | 0.0026417 | 12312.7324 | 0.0079588 | 12278.6631 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-10 03:00 | 0.0041224 | 12332.5586 | 0.0079439 | 12296.8027 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-10 04:00 | 0.0024963 | 12349.0195 | 0.0079422 | 12311.5322 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-10 05:00 | 0.0038149 | 12369.6074 | 0.0059635 | 12334.0996 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-10 06:00 | 0.0099814 | 12393.5996 | 0.0080109 | 12358.6914 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-10 07:00 | 0.020267 | 12382.3047 | 0.0099256 | 12339.9805 | Data Not Available | 7314 | Data Not Available | 5852
2025-06-10 08:00 | 0.027824 | 12308.4062 | 0.013678 | 12261.8105 | Data Not Available | 7317 | Data Not Available | 5852
2025-06-10 09:00 | 0.021971 | 12255.6172 | 0.0097088 | 12218.0469 | Data Not Available | 7317 | Data Not Available | 5846
2025-06-10 10:00 | 0.021909 | 12227.0996 | 0.011527 | 12188.71 | Data Not Available | 7311 | Data Not Available | 5839
2025-06-10 11:00 | 0.016514 | 12206.1914 | 0.007625 | 12164.1641 | Data Not Available | 7304 | Data Not Available | 5836
2025-06-10 12:00 | 0.016387 | 12190.1699 | 0.011412 | 12148.3184 | Data Not Available | 7298 | Data Not Available | 5833
2025-06-10 13:00 | 0.013259 | 12170.9844 | 0.009445 | 12129.875 | Data Not Available | 7301 | Data Not Available | 5833
2025-06-10 14:00 | 0.014943 | 12149.6758 | 0.01121 | 12103.1162 | Data Not Available | 7301 | Data Not Available | 5833
2025-06-10 15:00 | 0.020561 | 12116.9141 | 0.0093069 | 12068.3467 | Data Not Available | 7311 | Data Not Available | 5836
2025-06-10 16:00 | 0.0094724 | 12068.6094 | 0.0093778 | 12011.0996 | Data Not Available | 7307 | Data Not Available | 5843
2025-06-10 17:00 | 0.023243 | 11962.709 | 0.0093728 | 11892.6855 | Data Not Available | 7311 | Data Not Available | 5846
2025-06-10 18:00 | 0.029672 | 11779.7891 | 0.011117 | 11691.3291 | Data Not Available | 7314 | Data Not Available | 5849
2025-06-10 19:00 | 0.030008 | 11580.125 | 0.012718 | 11476.2393 | Data Not Available | 7314 | Data Not Available | 5852
2025-06-10 20:00 | 0.022981 | 11384.7871 | 0.012489 | 11268.0537 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-10 21:00 | 0.018578 | 11242.6387 | 0.010535 | 11128.1523 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-10 22:00 | 0.0085523 | 11153.4023 | 0.010412 | 11049.249 | Data Not Available | 7314 | Data Not Available | 5852
2025-06-10 23:00 | 0.01749 | 11153.1211 | 0.0087126 | 11050.0244 | Data Not Available | 7320 | Data Not Available | 5855
2025-06-11 | 0.0044827 | 11165.2578 | 0.0087425 | 11081.2773 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-11 01:00 | 0.0037167 | 11181.6387 | 0.0087851 | 11105.0723 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-11 02:00 | 0.0040701 | 11193.9355 | 0.0088064 | 11125.2217 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-11 03:00 | 0.0025934 | 11206.1504 | 0.0088353 | 11138.5752 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-11 04:00 | 0.0039136 | 11222.8535 | 0.00886 | 11156.5195 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-11 05:00 | 0.0088453 | 11234.3887 | 0.0088829 | 11168.0127 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-11 06:00 | 0.00914 | 11234.2676 | 0.0071004 | 11169.0127 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-11 07:00 | 0.020782 | 11185.3633 | 0.0088055 | 11115.5146 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-11 08:00 | 0.026694 | 11091.9609 | 0.01212 | 11025.79 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-11 09:00 | 0.019346 | 10990.627 | 0.010244 | 10919.998 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-11 10:00 | 0.019651 | 10941.8027 | 0.011848 | 10878.207 | Data Not Available | 7320 | Data Not Available | 5839
2025-06-11 11:00 | 0.022847 | 17.6393 | 0.010041 | 10844.1709 | Data Not Available | 7304 | Data Not Available | 5833
2025-06-11 12:00 | 0.016502 | 10875.7949 | 0.011626 | 10809.6826 | Data Not Available | 7298 | Data Not Available | 5830
2025-06-11 13:00 | 0.016268 | 10847.8379 | 0.0098789 | 10778.9189 | Data Not Available | 7298 | Data Not Available | 5830
2025-06-11 14:00 | 0.0091787 | 10835.623 | 0.009813 | 10772.9951 | Data Not Available | 7298 | Data Not Available | 5827
2025-06-11 15:00 | 0.011495 | 19.6707 | 0.008139 | 10772.9678 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-11 16:00 | 0.018731 | 10803.6602 | 0.0098169 | 10724.2363 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-11 17:00 | 0.019085 | 10750.5508 | 0.0098386 | 10657.3125 | Data Not Available | 7320 | Data Not Available | 5839
2025-06-11 18:00 | 0.029882 | 10685.3438 | 0.013053 | 10579.958 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-11 19:00 | 0.030089 | 10612.4883 | 0.012981 | 10494.0996 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-11 20:00 | 0.018986 | 10531.1797 | 0.011218 | 10396.5303 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-11 21:00 | 0.017593 | 10416.8691 | 0.011076 | 10273.1172 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-11 22:00 | 0.01785 | 10314.9355 | 0.0093994 | 10162.5283 | Data Not Available | 7336 | Data Not Available | 5849
2025-06-11 23:00 | 0.0055653 | 10241.7988 | 0.0094019 | 10100.8701 | Data Not Available | 7339 | Data Not Available | 5849
2025-06-12 | 0.025575 | 10237.793 | 0.0078776 | 10098.5049 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-12 01:00 | 0.005551 | 10241.6777 | 0.007977 | 10102.335 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-12 02:00 | 0.0025033 | 8.539 | 0.0080646 | 10143.6348 | Data Not Available | 7355 | Data Not Available | 5855
2025-06-12 03:00 | 0.0058234 | 10327.4316 | 0.0096797 | 10210.6699 | Data Not Available | 7358 | Data Not Available | 5855
2025-06-12 04:00 | 0.0074378 | 10388.2715 | 0.0081422 | 10274.1797 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-12 05:00 | 0.021545 | 10441.1016 | 0.0082402 | 10333.0723 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-12 06:00 | 0.018339 | 10530.5 | 0.0099707 | 10435.9316 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-12 07:00 | 0.020246 | 10457.2832 | 0.0097198 | 10307.4248 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-12 08:00 | 0.026032 | 10201.666 | 0.010866 | 10027.0508 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-12 09:00 | 0.022296 | 10062.7617 | 0.010667 | 9894.9717 | Data Not Available | 7333 | Data Not Available | 5843
2025-06-12 10:00 | 0.019674 | 10034.3242 | 0.010605 | 9883.2725 | Data Not Available | 7326 | Data Not Available | 5833
2025-06-12 11:00 | 0.018805 | 10018.0234 | 0.010606 | 9876.7168 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-12 12:00 | 0.021439 | 10030.3984 | 0.010623 | 9899.1895 | Data Not Available | 7311 | Data Not Available | 5827
2025-06-12 13:00 | 0.023386 | 10062.6816 | 0.0091047 | 9952.1084 | Data Not Available | 7295 | Data Not Available | 5824
2025-06-12 14:00 | 0.012627 | 10107.3809 | 0.010518 | 10000.8389 | Data Not Available | 7304 | Data Not Available | 5820
2025-06-12 15:00 | 0.016447 | 10135.8984 | 0.0089869 | 10034.2197 | Data Not Available | 7314 | Data Not Available | 5824
2025-06-12 16:00 | 0.01404 | 10141.1445 | 0.010561 | 10044.708 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-12 17:00 | 0.020479 | 10103.6152 | 0.012154 | 9990.1309 | Data Not Available | 7323 | Data Not Available | 5836
2025-06-12 18:00 | 0.029321 | 10034.6055 | 0.012155 | 9911.584 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-12 19:00 | 0.02557 | 9843.1113 | 0.013446 | 9679.8281 | Data Not Available | 7330 | Data Not Available | 5843
2025-06-12 20:00 | 0.020826 | 9604.6367 | 0.013061 | 9413.5684 | Data Not Available | 7336 | Data Not Available | 5843
2025-06-12 21:00 | 0.017874 | 9391.5957 | 0.011275 | 9179.374 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-12 22:00 | 0.0098277 | 9326.3496 | 0.011151 | 9117.6875 | Data Not Available | 7336 | Data Not Available | 5843
2025-06-12 23:00 | 0.01097 | 9310.168 | 0.0097231 | 9102.459 | Data Not Available | 7336 | Data Not Available | 5843
2025-06-13 | 0.020324 | 9314.375 | 0.0098231 | 9102.2881 | Data Not Available | 7336 | Data Not Available | 5849
2025-06-13 01:00 | 0.004596 | 9367.2832 | 0.0085776 | 9158.1592 | Data Not Available | 7349 | Data Not Available | 5849
2025-06-13 02:00 | 0.0036378 | 9513.4766 | 0.0088096 | 9330.4697 | Data Not Available | 7346 | Data Not Available | 5852
2025-06-13 03:00 | 0.0048104 | 9688.748 | 0.0089962 | 9531.9092 | Data Not Available | 7349 | Data Not Available | 5852
2025-06-13 04:00 | 0.0046574 | 9827.291 | 0.0091436 | 9691.3643 | Data Not Available | 7358 | Data Not Available | 5852
2025-06-13 05:00 | 0.0029133 | 9944.7266 | 0.0092498 | 9826.1729 | Data Not Available | 7355 | Data Not Available | 5855
2025-06-13 06:00 | 0.020442 | 10042.4961 | 0.0077535 | 10.9626 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-13 07:00 | 0.023053 | 10107.6211 | 0.010854 | 10007.3662 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-13 08:00 | 0.0236 | 10135.6992 | 0.010796 | 10038.4092 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-13 09:00 | 0.02617 | 10127.8887 | 0.010723 | 10035.9873 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-13 10:00 | 0.020547 | 10131.8535 | 0.012349 | 10037.2119 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-13 11:00 | 0.025827 | 10180.8379 | 0.012474 | 10099.8525 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-13 12:00 | 0.027065 | 14.6263 | 0.010899 | 10170.9512 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-13 13:00 | 0.024543 | 10294.5879 | 0.010898 | 10225.377 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-13 14:00 | 0.021852 | 10339.2871 | 0.010963 | 10264.1299 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-13 15:00 | 0.032209 | 10380.1016 | 0.010985 | 10308.7812 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-13 16:00 | 0.015696 | 10367.7637 | 0.010899 | 10276.6279 | Data Not Available | 7320 | Data Not Available | 5839
2025-06-13 17:00 | 0.024291 | 10335.3223 | 0.012422 | 10239.8301 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-13 18:00 | 0.024207 | 10168.3008 | 0.013614 | 10027.1562 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-13 19:00 | 0.024769 | 9928.584 | 0.011776 | 9756.2705 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-13 20:00 | 0.019286 | 9717.3066 | 0.012966 | 9524.1953 | Data Not Available | 7326 | Data Not Available | 5843
2025-06-13 21:00 | 0.019085 | 9627.4277 | 0.0099427 | 9422.6182 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-13 22:00 | 0.01487 | 12.5779 | 0.011227 | 9354.6504 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-13 23:00 | 0.0056491 | 9562.6621 | 0.0098915 | 9347.4619 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-14 | 0.003517 | 9587.0547 | 0.0086597 | 9374.2246 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-14 01:00 | 0.0064142 | 9668.041 | 0.0088131 | 9461.6875 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-14 02:00 | 0.0017763 | 9804.1816 | 0.010539 | 9616.1846 | Data Not Available | 7346 | Data Not Available | 5843
2025-06-14 03:00 | 0.0050451 | 9973.2031 | 0.0092578 | 9798.1885 | Data Not Available | 7342 | Data Not Available | 5846
2025-06-14 04:00 | 0.0016839 | 10123.7227 | 0.0094333 | 9963.7539 | Data Not Available | 7358 | Data Not Available | 5843
2025-06-14 05:00 | 0.0069981 | 10278.6875 | 0.0079964 | 10125.583 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-14 06:00 | 0.01072 | 10420.5938 | 0.0098527 | 10279.7324 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-14 07:00 | 0.01159 | 10550.8457 | 0.010051 | 10416.7881 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-14 08:00 | 0.01663 | 10697.1602 | 0.010153 | 10580.7324 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-14 09:00 | 0.016989 | 10831.9375 | 0.010244 | 10733.0557 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-14 10:00 | 0.019379 | 10958.0234 | 0.010317 | 10861.6904 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-14 11:00 | 0.016753 | 11059.4785 | 0.01032 | 10984.3496 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-14 12:00 | 0.013838 | 11165.2969 | 0.010371 | 11089.2725 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-14 13:00 | 0.014276 | 11246.6445 | 0.0087561 | 11177.4102 | Data Not Available | 7311 | Data Not Available | 5836
2025-06-14 14:00 | 0.011643 | 11307.1641 | 0.0087765 | 11245.7021 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-14 15:00 | 0.0080869 | 11372.1309 | 0.0087419 | 11310.6357 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-14 16:00 | 0.012375 | 11409.1387 | 0.010598 | 11353.1543 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-14 17:00 | 0.020229 | 11437.5762 | 0.010658 | 11360.4238 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-14 18:00 | 0.028514 | 11372.8105 | 0.014199 | 11282.5654 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-14 19:00 | 0.021043 | 11287.0977 | 0.012384 | 11185.8213 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-14 20:00 | 0.017085 | 11226.3379 | 0.012441 | 11122.0518 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-14 21:00 | 0.0092479 | 11197.2188 | 0.010821 | 11090.6885 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-14 22:00 | 0.0077501 | 11180.8379 | 0.01073 | 11069.3291 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-14 23:00 | 0.0067715 | 11164.6562 | 0.010813 | 11049.9717 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-15 | 0.0035429 | 11168.9824 | 0.0091274 | 11058.1768 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-15 01:00 | 0.0049797 | 11278.8477 | 0.0074084 | 11179.3486 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-15 02:00 | 0.0041001 | 11388.752 | 0.0092271 | 11299.7764 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-15 03:00 | 0.0040496 | 11494.9727 | 0.0074862 | 11414.0166 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-15 04:00 | 0.003179 | 11600.3516 | 0.0094875 | 11520.8262 | Data Not Available | 7352 | Data Not Available | 5859
2025-06-15 05:00 | 0.0053973 | 11693.916 | 0.0096073 | 11623.7627 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-15 06:00 | 0.0032813 | 11791.2832 | 0.0077584 | 11721.7002 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-15 07:00 | 0.0090715 | 11876.957 | 0.0097057 | 11810.6992 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-15 08:00 | 0.01571 | 11888.8516 | 0.0096637 | 11818.2881 | Data Not Available | 7330 | Data Not Available | 5859
2025-06-15 09:00 | 0.022283 | 11880.6016 | 0.011425 | 11807.0039 | Data Not Available | 7320 | Data Not Available | 5852
2025-06-15 10:00 | 0.018862 | 11868.9062 | 0.0094366 | 11803.5039 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-15 11:00 | 0.019055 | 11872.7109 | 0.0094496 | 11803.4941 | Data Not Available | 7311 | Data Not Available | 5839
2025-06-15 12:00 | 0.019213 | 11885.0879 | 0.0093287 | 11812.5664 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-15 13:00 | 0.014323 | 11901.2285 | 0.0092806 | 11829.0898 | Data Not Available | 7304 | Data Not Available | 5827
2025-06-15 14:00 | 0.011813 | 11921.2949 | 0.0093599 | 11853.4102 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-15 15:00 | 0.013911 | 11933.832 | 0.0094079 | 11873.0801 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-15 16:00 | 0.012203 | 11945.9277 | 0.0095567 | 11866.9346 | Data Not Available | 7311 | Data Not Available | 5836
2025-06-15 17:00 | 0.029065 | 11880.9629 | 0.011595 | 11792.5996 | Data Not Available | 7317 | Data Not Available | 5846
2025-06-15 18:00 | 0.022794 | 11754.8359 | 0.01332 | 11656.2939 | Data Not Available | 7317 | Data Not Available | 5852
2025-06-15 19:00 | 0.025984 | 11632.6348 | 0.013105 | 11517.0596 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-15 20:00 | 0.015477 | 11490.2871 | 0.012847 | 11360.8154 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-15 21:00 | 0.013682 | 11396.9238 | 0.0090017 | 11265.0156 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-15 22:00 | 0.01085 | 11331.8379 | 0.008911 | 11197.3555 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-15 23:00 | 0.0052257 | 11278.9277 | 0.0070616 | 11143.332 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-16 | 0.0095637 | 11263.0664 | 0.0071355 | 11135.2871 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-16 01:00 | 0.00483 | 11270.3965 | 0.007143 | 11138.8877 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-16 02:00 | 0.0054442 | 11286.9375 | 0.0089809 | 11160.4668 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-16 03:00 | 0.0061647 | 11319.8613 | 0.0090963 | 11197.6494 | Data Not Available | 7349 | Data Not Available | 5859
2025-06-16 04:00 | 0.010966 | 11351.9844 | 0.0073102 | 11230.2617 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-16 05:00 | 0.0070797 | 11380.7812 | 0.009143 | 11262.0576 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-16 06:00 | 0.010588 | 11405.0938 | 0.011065 | 11288.1631 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-16 07:00 | 0.021374 | 11368.6055 | 0.0091556 | 11237.6387 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-16 08:00 | 0.0329 | 11254.2949 | 0.012659 | 11114.3008 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-16 09:00 | 0.022842 | 11181.1992 | 0.010713 | 11049.3213 | Data Not Available | 7330 | Data Not Available | 5846
2025-06-16 10:00 | 0.024483 | 11173.0684 | 0.010673 | 11045.5811 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-16 11:00 | 0.017585 | 11172.748 | 0.010645 | 11044.998 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-16 12:00 | 0.019029 | 11165.0977 | 0.010602 | 11036.4941 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-16 13:00 | 0.01683 | 11164.8164 | 0.008839 | 11034.7412 | Data Not Available | 7301 | Data Not Available | 5824
2025-06-16 14:00 | 0.0129 | 11177.3125 | 0.010642 | 11048.6279 | Data Not Available | 7307 | Data Not Available | 5824
2025-06-16 15:00 | 0.012114 | 11254.5742 | 0.010635 | 11139.0918 | Data Not Available | 7314 | Data Not Available | 5827
2025-06-16 16:00 | 0.011073 | 11359.5137 | 0.010781 | 11245.8955 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-16 17:00 | 0.021284 | 11408.8184 | 0.010948 | 11271.6621 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-16 18:00 | 0.029537 | 11197.6602 | 0.010798 | 11023.457 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-16 19:00 | 0.024306 | 10973.9648 | 0.013994 | 10767.8545 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-16 20:00 | 0.021583 | 10754.4355 | 0.011977 | 10534.6201 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-16 21:00 | 0.016162 | 10558.9375 | 0.010043 | 10313.7441 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-16 22:00 | 0.017843 | 10372.1309 | 0.0098441 | 10122.166 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-16 23:00 | 0.015173 | 10286.1777 | 0.0096646 | 10054.2539 | Data Not Available | 7346 | Data Not Available | 5852
2025-06-17 | 0.0073579 | 10282.3711 | 0.0081408 | 10059.3779 | Data Not Available | 7349 | Data Not Available | 5849
2025-06-17 01:00 | 0.0039237 | 10371.6504 | 0.0083477 | 10206.5723 | Data Not Available | 7349 | Data Not Available | 5849
2025-06-17 02:00 | 0.0059351 | 10510.6738 | 0.0085506 | 10379.3047 | Data Not Available | 7355 | Data Not Available | 5852
2025-06-17 03:00 | 0.0047715 | 10651.459 | 0.0086857 | 10533.2041 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-17 04:00 | 0.0047762 | 10782.7129 | 0.0088017 | 10674.791 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-17 05:00 | 0.01038 | 10904.793 | 0.0088927 | 10806.1221 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-17 06:00 | 0.0098663 | 11014.3789 | 0.0089549 | 10925.2402 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-17 07:00 | 0.021799 | 11112.0273 | 0.010872 | 11025.4355 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-17 08:00 | 0.027973 | 11160.7715 | 0.012546 | 11070.3242 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-17 09:00 | 0.023227 | 11176.9922 | 0.010667 | 11088.9688 | Data Not Available | 7342 | Data Not Available | 5849
2025-06-17 10:00 | 0.020154 | 11189.4492 | 0.01048 | 11107.626 | Data Not Available | 7323 | Data Not Available | 5836
2025-06-17 11:00 | 0.020554 | 11209.6758 | 0.010384 | 11132.1162 | Data Not Available | 7311 | Data Not Available | 5833
2025-06-17 12:00 | 0.018721 | 11246.2051 | 0.0086531 | 11160.0205 | Data Not Available | 7301 | Data Not Available | 5830
2025-06-17 13:00 | 0.021594 | 11270.7559 | 0.010412 | 11188.7471 | Data Not Available | 7298 | Data Not Available | 5830
2025-06-17 14:00 | 0.018021 | 11311.6914 | 0.0086215 | 11222.2412 | Data Not Available | 7304 | Data Not Available | 5833
2025-06-17 15:00 | 0.015777 | 11356.2285 | 0.010426 | 11267.3379 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-17 16:00 | 0.016936 | 11405.2148 | 0.012233 | 11287.7627 | Data Not Available | 7311 | Data Not Available | 5839
2025-06-17 17:00 | 0.023766 | 11315.4551 | 0.012222 | 11178.6797 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-17 18:00 | 0.027889 | 11185.7246 | 0.013923 | 11044.792 | Data Not Available | 7314 | Data Not Available | 5846
2025-06-17 19:00 | 0.023529 | 11055.793 | 0.012057 | 10894.5195 | Data Not Available | 7317 | Data Not Available | 5849
2025-06-17 20:00 | 0.026257 | 10925.3008 | 0.011909 | 10756.1943 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-17 21:00 | 0.017361 | 10790.6836 | 0.010074 | 10618.1416 | Data Not Available | 7330 | Data Not Available | 5849
2025-06-17 22:00 | 0.010216 | 10697.8398 | 0.0082931 | 10529.0479 | Data Not Available | 7320 | Data Not Available | 5849
2025-06-17 23:00 | 0.012687 | 10632.3535 | 0.0065972 | 10468.1953 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-18 | 0.024887 | 10616.0117 | 0.0082649 | 10453.2227 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-18 01:00 | 0.0061573 | 10640.2852 | 0.0083116 | 10484.7715 | Data Not Available | 7342 | Data Not Available | 5852
2025-06-18 02:00 | 0.0060019 | 10685.584 | 0.010089 | 10537.3994 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-18 03:00 | 0.0030522 | 10754.4355 | 0.0084792 | 10608.3174 | Data Not Available | 7349 | Data Not Available | 5852
2025-06-18 04:00 | 0.0041659 | 10807.625 | 0.0085026 | 11.928 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-18 05:00 | 0.0090021 | 10835.7832 | 0.010236 | 10706.1289 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-18 06:00 | 0.017245 | 10823.2852 | 0.010203 | 10709.543 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-18 07:00 | 0.024513 | 10819.2402 | 0.011907 | 10707.1865 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-18 08:00 | 0.028339 | 10823.4062 | 0.011788 | 10735.2354 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-18 09:00 | 0.023461 | 10819.2812 | 0.010036 | 10740.2363 | Data Not Available | 7333 | Data Not Available | 5843
2025-06-18 10:00 | 0.023903 | 10827.5723 | 0.010064 | 10754.6357 | Data Not Available | 7323 | Data Not Available | 5836
2025-06-18 11:00 | 0.017297 | 10847.918 | 0.011758 | 10780.2734 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-18 12:00 | 0.017128 | 10872.3516 | 0.010077 | 10803.3379 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-18 13:00 | 0.011711 | 10872.4707 | 0.01005 | 10809.9629 | Data Not Available | 7301 | Data Not Available | 5827
2025-06-18 14:00 | 0.020545 | 10880.2402 | 0.0083015 | 10811.9971 | Data Not Available | 7304 | Data Not Available | 5824
2025-06-18 15:00 | 0.015247 | 10847.8789 | 0.0081472 | 10770.2344 | Data Not Available | 7311 | Data Not Available | 5827
2025-06-18 16:00 | 0.017481 | 10814.875 | 0.0098226 | 10720.7119 | Data Not Available | 7320 | Data Not Available | 5830
2025-06-18 17:00 | 0.020165 | 10725.957 | 0.0099121 | 10619.8955 | Data Not Available | 7323 | Data Not Available | 5836
2025-06-18 18:00 | 0.030049 | 10502.2227 | 0.013036 | 10367.8154 | Data Not Available | 7333 | Data Not Available | 5839
2025-06-18 19:00 | 0.025455 | 10270.3164 | 0.012713 | 10107.7021 | Data Not Available | 7317 | Data Not Available | 5846
2025-06-18 20:00 | 0.023178 | 10066.7676 | 0.012421 | 9881.4375 | Data Not Available | 7336 | Data Not Available | 5846
2025-06-18 21:00 | 0.017043 | 9883.6465 | 0.010622 | 9672.8457 | Data Not Available | 7346 | Data Not Available | 5846
2025-06-18 22:00 | 0.010905 | 9700.6445 | 0.010406 | 9464.2012 | Data Not Available | 7336 | Data Not Available | 5846
2025-06-18 23:00 | 0.0036475 | 9586.9336 | 0.0088314 | 9347.4219 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-19 | 0.0032959 | 9489.1641 | 0.010164 | 9232.5654 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-19 01:00 | 0.0041546 | 9363.4395 | 0.0085596 | 9091.6875 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-19 02:00 | 0.0036492 | 9310.0879 | 0.0085605 | 9039.6299 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-19 03:00 | 0.0043119 | 9314.2148 | 0.010059 | 9050.2744 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-19 04:00 | 0.0068403 | 9350.8223 | 0.010249 | 8.8817 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-19 05:00 | 0.0068413 | 9468.9785 | 0.0089808 | 9242.5684 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-19 06:00 | 0.023223 | 9640.0449 | 0.010722 | 9439.8164 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-19 07:00 | 0.01921 | 9814.6348 | 0.01241 | 8.8469 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-19 08:00 | 0.030542 | 9896.1426 | 0.012289 | 9709.5547 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-19 09:00 | 0.027433 | 9859.293 | 0.013591 | 9674.0713 | Data Not Available | 7342 | Data Not Available | 5846
2025-06-19 10:00 | 0.026836 | 9859.293 | 0.010697 | 9677.9219 | Data Not Available | 7333 | Data Not Available | 5839
2025-06-19 11:00 | 0.025599 | 9989.4648 | 0.012637 | 9838.8408 | Data Not Available | 7326 | Data Not Available | 5833
2025-06-19 12:00 | 0.020184 | 10164.377 | 0.0096303 | 10028.3555 | Data Not Available | 7314 | Data Not Available | 5827
2025-06-19 13:00 | 0.017477 | 10331.3965 | 0.011352 | 10210.0215 | Data Not Available | 7311 | Data Not Available | 5824
2025-06-19 14:00 | 0.013195 | 10510.1523 | 0.0098822 | 10388.792 | Data Not Available | 7307 | Data Not Available | 5824
2025-06-19 15:00 | 0.010622 | 10721.9121 | 0.010087 | 10600.4893 | Data Not Available | 7314 | Data Not Available | 5824
2025-06-19 16:00 | 0.013205 | 10990.8262 | 0.010394 | 10842.7559 | Data Not Available | 7317 | Data Not Available | 5830
2025-06-19 17:00 | 0.020184 | 11197.9004 | 0.012439 | 11032.1016 | Data Not Available | 7326 | Data Not Available | 5836
2025-06-19 18:00 | 0.029609 | 11307.7246 | 0.012476 | 11075.5742 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-19 19:00 | 0.027508 | 11230.2637 | 0.01422 | 10972.6758 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-19 20:00 | 0.031089 | 11124.8047 | 0.014071 | 10837.1807 | Data Not Available | 7336 | Data Not Available | 5849
2025-06-19 21:00 | 0.017416 | 11043.2559 | 0.01226 | 10750.4316 | Data Not Available | 7342 | Data Not Available | 5849
2025-06-19 22:00 | 0.012379 | 11002.4824 | 0.0087677 | 10712.2881 | Data Not Available | 7323 | Data Not Available | 5855
2025-06-19 23:00 | 0.0065349 | 10994.4316 | 0.010638 | 10708.6357 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-20 | 0.0046525 | 11022.75 | 0.0089388 | 10754.6533 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-20 01:00 | 0.0054594 | 11059.2383 | 0.0090827 | 10822.6592 | Data Not Available | 7330 | Data Not Available | 5859
2025-06-20 02:00 | 0.0037334 | 11182.6406 | 0.0073816 | 10981.6113 | Data Not Available | 7349 | Data Not Available | 5859
2025-06-20 03:00 | 0.0065166 | 11356.3086 | 0.0094317 | 11186.749 | Data Not Available | 7339 | Data Not Available | 5862
2025-06-20 04:00 | 0.0081254 | 11523.209 | 0.0096106 | 11374.4883 | Data Not Available | 7342 | Data Not Available | 5865
2025-06-20 05:00 | 0.0062157 | 11673.7676 | 0.0097593 | 11544.3779 | Data Not Available | 7339 | Data Not Available | 5865
2025-06-20 06:00 | 0.0092899 | 11821.6035 | 0.0099682 | 11703.5068 | Data Not Available | 7336 | Data Not Available | 5865
2025-06-20 07:00 | 0.013868 | 11942.2832 | 0.011954 | 9.3756 | Data Not Available | 7336 | Data Not Available | 5865
2025-06-20 08:00 | 0.026482 | 11897.3027 | 0.013815 | 11767.7598 | Data Not Available | 7330 | Data Not Available | 5865
2025-06-20 09:00 | 0.024906 | 11868.7461 | 0.011699 | 11740.2295 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-20 10:00 | 0.021092 | 11893.6992 | 0.011753 | 11782.8564 | Data Not Available | 7326 | Data Not Available | 5843
2025-06-20 11:00 | 0.016458 | 11844.5938 | 0.0096828 | 11813.3984 | Data Not Available | 7317 | Data Not Available | 5836
2025-06-20 12:00 | 0.019051 | 11701.7246 | 0.0094252 | 11683.0742 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-20 13:00 | 0.0098585 | 11632.875 | 0.011127 | 11609.4629 | Data Not Available | 7304 | Data Not Available | 5827
2025-06-20 14:00 | 0.01254 | 11616.373 | 0.009199 | 11588.7988 | Data Not Available | 7301 | Data Not Available | 5824
2025-06-20 15:00 | 0.0066908 | 11632.7148 | 0.0091147 | 11595.2812 | Data Not Available | 7311 | Data Not Available | 5824
2025-06-20 16:00 | 0.013173 | 11649.0156 | 0.011051 | 11579.9619 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-20 17:00 | 0.01948 | 11621.5 | 0.013006 | 11536.8135 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-20 18:00 | 0.028966 | 11421.6348 | 0.012699 | 11295.8477 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-20 19:00 | 0.029311 | 11197.6191 | 0.012445 | 11039.9033 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-20 20:00 | 0.024087 | 11010.5332 | 0.012258 | 10839.2549 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-20 21:00 | 0.01874 | 11.4186 | 0.010342 | 10704.4717 | Data Not Available | 7330 | Data Not Available | 5849
2025-06-20 22:00 | 0.0057199 | 10871.9902 | 0.012141 | 10702.8115 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-20 23:00 | 0.010494 | 10872.752 | 0.010428 | 10708.4434 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-21 | 0.0067099 | 10892.5371 | 0.0087687 | 10730.9609 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-21 01:00 | 0.0039448 | 10913.8457 | 0.0088811 | 10760.873 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-21 02:00 | 0.0039928 | 10998.2773 | 0.0090822 | 10860.2217 | Data Not Available | 7346 | Data Not Available | 5855
2025-06-21 03:00 | 0.0061097 | 11145.0703 | 0.0093064 | 11024.168 | Data Not Available | 7342 | Data Not Available | 5859
2025-06-21 04:00 | 0.0048419 | 11283.334 | 0.0095066 | 11170.0537 | Data Not Available | 7342 | Data Not Available | 5859
2025-06-21 05:00 | 0.0054985 | 11429.3652 | 0.0096792 | 11335.7021 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-21 06:00 | 0.011197 | 11621.1387 | 0.007865 | 11539.0391 | Data Not Available | 7339 | Data Not Available | 5865
2025-06-21 07:00 | 0.0135 | 11527.375 | 0.0097096 | 11511.3076 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-21 08:00 | 0.020979 | 11315.375 | 0.011311 | 11298.0078 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-21 09:00 | 0.027764 | 11157.2871 | 0.011 | 11138.6641 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-21 10:00 | 0.021443 | 11043.2559 | 0.010847 | 11014.9814 | Data Not Available | 7326 | Data Not Available | 5836
2025-06-21 11:00 | 0.016553 | 10957.584 | 0.010669 | 10924.0869 | Data Not Available | 7314 | Data Not Available | 5827
2025-06-21 12:00 | 0.018713 | 10888.4922 | 0.010481 | 13.038 | Data Not Available | 7304 | Data Not Available | 5820
2025-06-21 13:00 | 0.016346 | 10835.502 | 0.0086425 | 10800.0361 | Data Not Available | 7295 | Data Not Available | 5820
2025-06-21 14:00 | 0.01216 | 22.4987 | 0.010205 | 10748.0615 | Data Not Available | 7298 | Data Not Available | 5820
2025-06-21 15:00 | 0.011959 | 10762.4062 | 0.010006 | 10710.8701 | Data Not Available | 7311 | Data Not Available | 5820
2025-06-21 16:00 | 0.015253 | 10680.3379 | 0.011723 | 10598.2471 | Data Not Available | 7320 | Data Not Available | 5827
2025-06-21 17:00 | 0.027981 | 10542.916 | 0.011656 | 10452.1221 | Data Not Available | 7317 | Data Not Available | 5836
2025-06-21 18:00 | 0.023791 | 10416.8301 | 0.013331 | 10316.3564 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-21 19:00 | 0.025428 | 10364.0801 | 0.013242 | 10241.9326 | Data Not Available | 7330 | Data Not Available | 5843
2025-06-21 20:00 | 0.018104 | 10326.9512 | 0.013236 | 10187.9502 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-21 21:00 | 0.016466 | 10327.2715 | 0.01001 | 10186.7939 | Data Not Available | 7336 | Data Not Available | 5846
2025-06-21 22:00 | 0.0062196 | 10376.1348 | 0.010177 | 10211.665 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-21 23:00 | 0.012745 | 10445.5879 | 0.010324 | 10263.415 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-22 | 0.0032465 | 10542.6348 | 0.010578 | 10363.7422 | Data Not Available | 7349 | Data Not Available | 5855
2025-06-22 01:00 | 0.0078617 | 10689.2285 | 0.007224 | 10533.2012 | Data Not Available | 7349 | Data Not Available | 5862
2025-06-22 02:00 | 0.0060211 | 10847.7188 | 0.0092077 | 10703.9355 | Data Not Available | 7352 | Data Not Available | 5865
2025-06-22 03:00 | 0.0055206 | 10994.4727 | 0.0094048 | 10859.7549 | Data Not Available | 7358 | Data Not Available | 5862
2025-06-22 04:00 | 0.0047666 | 11132.4141 | 0.0095622 | 11008.1455 | Data Not Available | 7349 | Data Not Available | 5865
2025-06-22 05:00 | 0.0052572 | 11274.7617 | 0.0097218 | 11154.4834 | Data Not Available | 7355 | Data Not Available | 5865
2025-06-22 06:00 | 0.0070429 | 11405.2949 | 0.0098074 | 11295.2871 | Data Not Available | 7352 | Data Not Available | 5868
2025-06-22 07:00 | 0.0099129 | 11275.082 | 0.011429 | 11241.1455 | Data Not Available | 7349 | Data Not Available | 5868
2025-06-22 08:00 | 0.020228 | 11087.9961 | 0.010952 | 11057.9482 | Data Not Available | 7342 | Data Not Available | 5868
2025-06-22 09:00 | 0.015491 | 10961.9492 | 0.010607 | 10936.499 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-22 10:00 | 0.026093 | 10876.2363 | 0.010376 | 10846.1963 | Data Not Available | 7323 | Data Not Available | 5836
2025-06-22 11:00 | 0.017795 | 10819.2812 | 0.010062 | 10777.167 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-22 12:00 | 0.0096978 | 10762.2461 | 0.0081859 | 10721.3193 | Data Not Available | 7298 | Data Not Available | 5820
2025-06-22 13:00 | 0.014227 | 10717.8672 | 0.0097933 | 10678.1748 | Data Not Available | 7295 | Data Not Available | 5814
2025-06-22 14:00 | 0.012204 | 10688.8691 | 0.0080851 | 10641.082 | Data Not Available | 7301 | Data Not Available | 5814
2025-06-22 15:00 | 0.015673 | 10656.3848 | 0.0079542 | 10602.416 | Data Not Available | 7307 | Data Not Available | 5814
2025-06-22 16:00 | 0.0053568 | 10628.3477 | 0.0081005 | 10567.0859 | Data Not Available | 7301 | Data Not Available | 5824
2025-06-22 17:00 | 0.020435 | 10595.666 | 0.011456 | 10529.3359 | Data Not Available | 7304 | Data Not Available | 5836
2025-06-22 18:00 | 0.026606 | 10555.0527 | 0.011503 | 10487.1416 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-22 19:00 | 0.023015 | 10396.6836 | 0.011395 | 10298.6494 | Data Not Available | 7326 | Data Not Available | 5843
2025-06-22 20:00 | 0.020201 | 10254.334 | 0.011209 | 10152.0576 | Data Not Available | 7333 | Data Not Available | 5843
2025-06-22 21:00 | 0.014031 | 10241.8789 | 0.011315 | 10141.583 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-22 22:00 | 0.0090817 | 10270.3965 | 0.0097939 | 11.1984 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-22 23:00 | 0.0036367 | 10315.0547 | 0.0065721 | 10220.1699 | Data Not Available | 7336 | Data Not Available | 5849
2025-06-23 | 0.0027377 | 10343.332 | 0.0066275 | 10249.918 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-23 01:00 | 0.0047102 | 10355.8281 | 0.0083103 | 10272.1123 | Data Not Available | 7339 | Data Not Available | 5849
2025-06-23 02:00 | 0.0050097 | 7.3199 | 0.0084006 | 10314.7764 | Data Not Available | 7346 | Data Not Available | 5852
2025-06-23 03:00 | 0.0047024 | 10453.1582 | 0.01012 | 10378.4023 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-23 04:00 | 0.0048154 | 10510.1523 | 0.008524 | 10441.1729 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-23 05:00 | 0.00648 | 10563.0215 | 0.010258 | 10495.6387 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-23 06:00 | 0.0077035 | 10612.0879 | 0.008602 | 10545.7578 | Data Not Available | 7326 | Data Not Available | 5855
2025-06-23 07:00 | 0.019537 | 10619.9766 | 0.010265 | 10541.6367 | Data Not Available | 7317 | Data Not Available | 5859
2025-06-23 08:00 | 0.024718 | 10543.0352 | 0.011751 | 10460.2646 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-23 09:00 | 0.020079 | 10469.5391 | 0.011547 | 10387.2451 | Data Not Available | 7333 | Data Not Available | 5843
2025-06-23 10:00 | 0.012049 | 10404.373 | 0.00974 | 10324.1514 | Data Not Available | 7320 | Data Not Available | 5830
2025-06-23 11:00 | 0.011812 | 10355.5879 | 0.0096348 | 10269.7881 | Data Not Available | 7307 | Data Not Available | 5817
2025-06-23 12:00 | 0.0087711 | 10307.084 | 0.0094889 | 10222.8496 | Data Not Available | 7295 | Data Not Available | 5814
2025-06-23 13:00 | 0.0020833 | 10265.9102 | 0.0078051 | 10180.7969 | Data Not Available | 7288 | Data Not Available | 5811
2025-06-23 14:00 | 0.0023352 | 10245.2422 | 0.0092336 | 10148.3887 | Data Not Available | 7285 | Data Not Available | 5808
2025-06-23 15:00 | 0.00147 | 10233.668 | 0.0091537 | 10138.7139 | Data Not Available | 7288 | Data Not Available | 5811
2025-06-23 16:00 | 0.0036815 | 10237.9141 | 0.0092163 | 10142.9814 | Data Not Available | 7288 | Data Not Available | 5820
2025-06-23 17:00 | 0.010821 | 10286.0977 | 0.010984 | 10180.123 | Data Not Available | 7304 | Data Not Available | 5824
2025-06-23 18:00 | 0.019015 | 10339.127 | 0.011077 | 10223.0371 | Data Not Available | 7317 | Data Not Available | 5833
2025-06-23 19:00 | 0.022077 | 10376.2949 | 0.011143 | 10259.8428 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-23 20:00 | 0.019698 | 10380.0215 | 0.011106 | 10248.957 | Data Not Available | 7333 | Data Not Available | 5836
2025-06-23 21:00 | 0.015762 | 10359.3125 | 0.01107 | 10219.3936 | Data Not Available | 7336 | Data Not Available | 5833
2025-06-23 22:00 | 0.010932 | 10335.3223 | 0.0094206 | 10197.3076 | Data Not Available | 7330 | Data Not Available | 5833
2025-06-23 23:00 | 0.0095541 | 10335.1211 | 0.0094383 | 10197.4424 | Data Not Available | 7333 | Data Not Available | 5836
2025-06-24 | 0.0026925 | 10380.0605 | 0.0095208 | 10254.3262 | Data Not Available | 7333 | Data Not Available | 5836
2025-06-24 01:00 | 0.0046198 | 10436.5352 | 0.0080291 | 10325.252 | Data Not Available | 7339 | Data Not Available | 5836
2025-06-24 02:00 | 0.0021334 | 10514.0781 | 0.0065096 | 10412.2891 | Data Not Available | 7352 | Data Not Available | 5839
2025-06-24 03:00 | 0.0033077 | 8.2869 | 0.0082354 | 10519.374 | Data Not Available | 7342 | Data Not Available | 5839
2025-06-24 04:00 | 0.0035037 | 10709.5352 | 0.0083477 | 10623.1777 | Data Not Available | 7342 | Data Not Available | 5839
2025-06-24 05:00 | 0.0038057 | 10819.3203 | 0.0067093 | 10733.4531 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-24 06:00 | 0.0087135 | 10916.9297 | 0.0067495 | 10837.2773 | Data Not Available | 7333 | Data Not Available | 5839
2025-06-24 07:00 | 0.015411 | 10998.1172 | 0.0084987 | 10922.2939 | Data Not Available | 7330 | Data Not Available | 5836
2025-06-24 08:00 | 0.021822 | 11010.332 | 0.010156 | 10932.6426 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-24 09:00 | 0.017797 | 10982.4551 | 0.010168 | 10899.0293 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-24 10:00 | 0.015735 | 10949.332 | 0.011832 | 10860.3281 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-24 11:00 | 0.020845 | 10924.9004 | 0.010022 | 10853.6768 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-24 12:00 | 0.01387 | 10924.9004 | 0.0082802 | 10854.5176 | Data Not Available | 7298 | Data Not Available | 5824
2025-06-24 13:00 | 0.0091179 | 10936.9551 | 0.0065866 | 10863.876 | Data Not Available | 7298 | Data Not Available | 5824
2025-06-24 14:00 | 0.0074018 | 10941.1211 | 0.0098238 | 10868.3682 | Data Not Available | 7295 | Data Not Available | 5824
2025-06-24 15:00 | 0.0047147 | 10953.418 | 0.0081542 | 10880.5342 | Data Not Available | 7298 | Data Not Available | 5824
2025-06-24 16:00 | 0.0084751 | 10981.7344 | 0.009907 | 10907.2266 | Data Not Available | 7301 | Data Not Available | 5827
2025-06-24 17:00 | 0.01592 | 10970.0801 | 0.010022 | 10890.1006 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-24 18:00 | 0.026885 | 10949.2129 | 0.010071 | 10866.0264 | Data Not Available | 7314 | Data Not Available | 5836
2025-06-24 19:00 | 0.025391 | 10924.9004 | 0.010082 | 10841.6611 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-24 20:00 | 0.020831 | 10904.4727 | 0.010083 | 10817.4912 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-24 21:00 | 0.010634 | 10879.8809 | 0.0084228 | 15.5817 | Data Not Available | 7333 | Data Not Available | 5839
2025-06-24 22:00 | 0.0054797 | 10864.1406 | 0.0067329 | 10780.4932 | Data Not Available | 7323 | Data Not Available | 5839
2025-06-24 23:00 | 0.0094463 | 10859.8945 | 0.0083947 | 10776.5771 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-25 | 0.0037158 | 10863.7402 | 0.01012 | 10778.7949 | Data Not Available | 7317 | Data Not Available | 5843
2025-06-25 01:00 | 0.0046264 | 10867.9043 | 0.0067759 | 10782.3652 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-25 02:00 | 0.0044787 | 12.8019 | 0.0084998 | 10797.8955 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-25 03:00 | 0.0029717 | 10904.7539 | 0.0085245 | 10816.4014 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-25 04:00 | 0.0032188 | 10921.1348 | 0.008558 | 10835.1953 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-25 05:00 | 0.02909 | 10941.4824 | 0.0086019 | 10856.0254 | Data Not Available | 7320 | Data Not Available | 5849
2025-06-25 06:00 | 0.0089586 | 10965.9551 | 0.0068902 | 10878.2012 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-25 07:00 | 0.021881 | 10969.8789 | 0.0084938 | 10881.7656 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-25 08:00 | 0.024262 | 10982.0547 | 0.010128 | 10904.8438 | Data Not Available | 7317 | Data Not Available | 5849
2025-06-25 09:00 | 0.021125 | 10998.0371 | 0.0084236 | 10920.709 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-25 10:00 | 0.016992 | 11014.3789 | 0.010113 | 10943.584 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-25 11:00 | 0.019855 | 11038.7695 | 0.0084278 | 10969.6357 | Data Not Available | 7307 | Data Not Available | 5836
2025-06-25 12:00 | 0.025576 | 11063.8828 | 0.010114 | 10995.1152 | Data Not Available | 7304 | Data Not Available | 5833
2025-06-25 13:00 | 0.020672 | 11083.9492 | 0.0084249 | 11019.8213 | Data Not Available | 7307 | Data Not Available | 5836
2025-06-25 14:00 | 0.01111 | 11111.9863 | 0.0084171 | 11041.457 | Data Not Available | 7311 | Data Not Available | 5836
2025-06-25 15:00 | 0.008887 | 11144.8711 | 0.010104 | 11073.2051 | Data Not Available | 7311 | Data Not Available | 5839
2025-06-25 16:00 | 0.014262 | 11144.6309 | 0.010184 | 11057.9521 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-25 17:00 | 0.025194 | 11128.3281 | 0.011918 | 11030.5566 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-25 18:00 | 0.028775 | 11067.4082 | 0.011881 | 10951.3193 | Data Not Available | 7317 | Data Not Available | 5849
2025-06-25 19:00 | 0.032731 | 10998.918 | 0.011983 | 10865.4102 | Data Not Available | 7323 | Data Not Available | 5849
2025-06-25 20:00 | 0.020172 | 10961.668 | 0.011955 | 10812.9863 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-25 21:00 | 0.0196 | 10941.4824 | 0.011905 | 10782.6982 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-25 22:00 | 0.013799 | 10928.9062 | 0.0085895 | 10760.6885 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-25 23:00 | 0.019084 | 10929.2266 | 0.010385 | 10760.6885 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-26 | 0.011885 | 10965.7539 | 0.010618 | 10805.2412 | Data Not Available | 7342 | Data Not Available | 5859
2025-06-26 01:00 | 0.0036847 | 11079.8652 | 0.008937 | 10937.376 | Data Not Available | 7352 | Data Not Available | 5859
2025-06-26 02:00 | 0.003281 | 11218.0879 | 0.0072967 | 11084.2207 | Data Not Available | 7326 | Data Not Available | 5859
2025-06-26 03:00 | 0.0052456 | 11352.5449 | 0.0092271 | 11231.916 | Data Not Available | 7355 | Data Not Available | 5859
2025-06-26 04:00 | 0.0057624 | 11478.2695 | 0.0075036 | 11364.8066 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-26 05:00 | 0.013631 | 11596.5469 | 0.0076029 | 11489.2676 | Data Not Available | 7339 | Data Not Available | 5862
2025-06-26 06:00 | 0.012837 | 11702.2461 | 0.0096147 | 11603.1436 | Data Not Available | 7342 | Data Not Available | 5862
2025-06-26 07:00 | 0.023003 | 10.7983 | 0.0097097 | 11714.1025 | Data Not Available | 7336 | Data Not Available | 5862
2025-06-26 08:00 | 0.024919 | 11913.5645 | 0.013638 | 11816.3408 | Data Not Available | 7333 | Data Not Available | 5859
2025-06-26 09:00 | 0.024726 | 11966.1953 | 0.011706 | 11872.291 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-26 10:00 | 0.023283 | 12019.1445 | 0.0098618 | 11938.874 | Data Not Available | 7323 | Data Not Available | 5846
2025-06-26 11:00 | 0.019398 | 12125.2441 | 0.0099326 | 12051.2539 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-26 12:00 | 0.022637 | 12222.8125 | 0.011961 | 12146.7891 | Data Not Available | 7307 | Data Not Available | 5839
2025-06-26 13:00 | 0.024935 | 12271.7988 | 0.011843 | 12200.2412 | Data Not Available | 7304 | Data Not Available | 5839
2025-06-26 14:00 | 0.010706 | 12308.2461 | 0.011746 | 12246.0479 | Data Not Available | 7307 | Data Not Available | 5836
2025-06-26 15:00 | 0.016818 | 12352.8652 | 0.01163 | 12290.3301 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-26 16:00 | 0.011835 | 12361.2363 | 0.0097498 | 12283.5361 | Data Not Available | 7314 | Data Not Available | 5843
2025-06-26 17:00 | 0.024559 | 12286.7383 | 0.013779 | 12190.6631 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-26 18:00 | 0.030412 | 12040.0527 | 0.015437 | 11906.8496 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-26 19:00 | 0.034592 | 11800.0547 | 0.011358 | 11646.2959 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-26 20:00 | 0.02821 | 11568.0293 | 0.011035 | 11394.334 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-26 21:00 | 0.018401 | 11372.7715 | 0.010833 | 11196.0576 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-26 22:00 | 0.016334 | 11161.0117 | 0.010646 | 10973.4131 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-26 23:00 | 0.012879 | 11006.6484 | 0.0087753 | 10829.0059 | Data Not Available | 7339 | Data Not Available | 5859
2025-06-27 | 0.0067934 | 10901.0684 | 0.0069046 | 10729.8223 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-27 01:00 | 0.0024439 | 10876.3555 | 0.0068715 | 10715.8818 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-27 02:00 | 0.0045078 | 10871.9902 | 0.0085473 | 10728 | Data Not Available | 7346 | Data Not Available | 5852
2025-06-27 03:00 | 0.005319 | 10872.2715 | 0.0085246 | 10740.6055 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-27 04:00 | 0.0079582 | 10892.377 | 0.010351 | 11.8532 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-27 05:00 | 0.0067923 | 10999.0371 | 0.0088023 | 10908.9561 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-27 06:00 | 0.02798 | 11153.082 | 0.0090254 | 11086.8662 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-27 07:00 | 0.023604 | 11352.3438 | 0.010958 | 11299.8594 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-27 08:00 | 0.026522 | 11490.7676 | 0.012923 | 11438.1406 | Data Not Available | 7326 | Data Not Available | 5852
2025-06-27 09:00 | 0.026366 | 11588.375 | 0.011069 | 11539.5352 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-27 10:00 | 0.019919 | 14.0803 | 0.012956 | 11631.2617 | Data Not Available | 7326 | Data Not Available | 5843
2025-06-27 11:00 | 0.018737 | 11755.3965 | 0.011159 | 11728.083 | Data Not Available | 7314 | Data Not Available | 5839
2025-06-27 12:00 | 0.016641 | 11856.6895 | 0.011223 | 11825.0781 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-27 13:00 | 0.015384 | 11943.8047 | 0.011351 | 11919.1035 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-27 14:00 | 0.011571 | 12035.4453 | 0.0094591 | 12008.541 | Data Not Available | 7301 | Data Not Available | 5830
2025-06-27 15:00 | 0.022584 | 12125.1641 | 0.0093972 | 12091.71 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-27 16:00 | 0.0097449 | 12129.7305 | 0.0094338 | 12078.418 | Data Not Available | 7307 | Data Not Available | 5836
2025-06-27 17:00 | 0.022542 | 11990.9863 | 0.011337 | 11908.3887 | Data Not Available | 7317 | Data Not Available | 5843
2025-06-27 18:00 | 0.027311 | 11804.2207 | 0.013054 | 11704.0293 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-27 19:00 | 0.024894 | 11608.5215 | 0.012836 | 11487.3809 | Data Not Available | 7326 | Data Not Available | 5849
2025-06-27 20:00 | 0.019296 | 12.5881 | 0.01249 | 11206.8604 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-27 21:00 | 0.017628 | 11140.625 | 0.010493 | 10967.2012 | Data Not Available | 7342 | Data Not Available | 5846
2025-06-27 22:00 | 0.0091179 | 10994.1914 | 0.012099 | 10826.2734 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-27 23:00 | 0.0045664 | 10994.3516 | 0.010488 | 10829.7803 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-28 | 0.0030879 | 11006.4082 | 0.0087594 | 10856.2969 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-28 01:00 | 0.0038975 | 11034.8457 | 0.0070983 | 10902.126 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-28 02:00 | 0.0030837 | 11096.2461 | 0.0090028 | 10987.0391 | Data Not Available | 7339 | Data Not Available | 5855
2025-06-28 03:00 | 0.0043991 | 11198.1016 | 0.0073069 | 11105.2373 | Data Not Available | 7352 | Data Not Available | 5859
2025-06-28 04:00 | 0.0045668 | 11291.2227 | 0.011079 | 11212.1104 | Data Not Available | 7358 | Data Not Available | 5859
2025-06-28 05:00 | 0.0037404 | 11368.5254 | 0.0093116 | 11297.2148 | Data Not Available | 7358 | Data Not Available | 5862
2025-06-28 06:00 | 0.0053584 | 11449.5117 | 0.011293 | 11382.0713 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-28 07:00 | 0.0090489 | 11526.8555 | 0.0094784 | 11459.2471 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-28 08:00 | 0.015327 | 11580.0449 | 0.011332 | 11515.4385 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-28 09:00 | 0.018489 | 11612.6875 | 0.0093716 | 11552.3223 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-28 10:00 | 0.015923 | 11633.0352 | 0.011204 | 11576.3223 | Data Not Available | 7326 | Data Not Available | 5843
2025-06-28 11:00 | 0.013975 | 11661.6328 | 0.011146 | 11610.5 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-28 12:00 | 0.021273 | 11702.166 | 0.0092686 | 11648.4062 | Data Not Available | 7307 | Data Not Available | 5827
2025-06-28 13:00 | 0.014331 | 11730.6035 | 0.011123 | 11685.5049 | Data Not Available | 7307 | Data Not Available | 5824
2025-06-28 14:00 | 0.01824 | 11762.9668 | 0.0092419 | 11717.5908 | Data Not Available | 7311 | Data Not Available | 5827
2025-06-28 15:00 | 0.0082215 | 11807.8262 | 0.0091581 | 11754.9561 | Data Not Available | 7314 | Data Not Available | 5830
2025-06-28 16:00 | 0.01294 | 11848.2793 | 0.0093361 | 11795.7402 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-28 17:00 | 0.020629 | 11836.1426 | 0.013204 | 11759.1611 | Data Not Available | 7320 | Data Not Available | 5839
2025-06-28 18:00 | 0.023111 | 11681.459 | 0.013125 | 11575.7412 | Data Not Available | 7326 | Data Not Available | 5846
2025-06-28 19:00 | 0.019947 | 11518.7637 | 0.012971 | 11395.5059 | Data Not Available | 7333 | Data Not Available | 5846
2025-06-28 20:00 | 0.019457 | 11385.1875 | 0.010965 | 11252.6621 | Data Not Available | 7333 | Data Not Available | 5849
2025-06-28 21:00 | 0.023027 | 11307.6445 | 0.01274 | 11176.2852 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-28 22:00 | 0.0073394 | 11295.3086 | 0.0090811 | 11140.0938 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-28 23:00 | 0.0073394 | 11295.4688 | 0.0072768 | 11115.6826 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-29 | 0.0070457 | 11238.1133 | 0.0091095 | 11104.6133 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-29 01:00 | 0.0048219 | 11234.3477 | 0.011017 | 11103.1885 | Data Not Available | 7342 | Data Not Available | 5855
2025-06-29 02:00 | 0.0044245 | 11278.8066 | 0.0093171 | 11160.3398 | Data Not Available | 7358 | Data Not Available | 5859
2025-06-29 03:00 | 0.0039573 | 11425.3613 | 0.0094691 | 11322.6523 | Data Not Available | 7358 | Data Not Available | 5859
2025-06-29 04:00 | 0.003852 | 11567.8691 | 0.0076972 | 11472.8398 | Data Not Available | 7342 | Data Not Available | 5859
2025-06-29 05:00 | 0.0033435 | 11722.5137 | 0.0097441 | 11635.4209 | Data Not Available | 7355 | Data Not Available | 5859
2025-06-29 06:00 | 0.0035446 | 11836.1836 | 0.0098145 | 11752.7617 | Data Not Available | 7330 | Data Not Available | 5862
2025-06-29 07:00 | 0.0087463 | 11933.752 | 0.0099599 | 9.9184 | Data Not Available | 7339 | Data Not Available | 5862
2025-06-29 08:00 | 0.018892 | 12031.1602 | 0.010011 | 11960.1699 | Data Not Available | 7330 | Data Not Available | 5862
2025-06-29 09:00 | 0.02358 | 12121.0781 | 0.0099378 | 12061.9619 | Data Not Available | 7330 | Data Not Available | 5852
2025-06-29 10:00 | 0.023436 | 12190.0508 | 0.0099479 | 12145.792 | Data Not Available | 7317 | Data Not Available | 5839
2025-06-29 11:00 | 0.015278 | 12251.2109 | 0.0098636 | 12212.1699 | Data Not Available | 7307 | Data Not Available | 5833
2025-06-29 12:00 | 0.011953 | 12262.9863 | 0.0097428 | 12213.5254 | Data Not Available | 7304 | Data Not Available | 5830
2025-06-29 13:00 | 0.01241 | 12230.584 | 0.0096913 | 12173.6963 | Data Not Available | 7301 | Data Not Available | 5827
2025-06-29 14:00 | 0.0087251 | 21.7384 | 0.0096098 | 12163.9688 | Data Not Available | 7304 | Data Not Available | 5827
2025-06-29 15:00 | 0.011846 | 12231.1035 | 0.0077247 | 12167.1895 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-29 16:00 | 0.016247 | 12246.8848 | 0.011736 | 12185.2871 | Data Not Available | 7314 | Data Not Available | 5836
2025-06-29 17:00 | 0.020669 | 12259.1016 | 0.011743 | 12173.7129 | Data Not Available | 7320 | Data Not Available | 5839
2025-06-29 18:00 | 0.030758 | 12137.3008 | 0.011743 | 12031.9541 | Data Not Available | 7330 | Data Not Available | 5849
2025-06-29 19:00 | 0.024222 | 12011.334 | 0.013679 | 11896.6904 | Data Not Available | 7323 | Data Not Available | 5852
2025-06-29 20:00 | 0.021875 | 11881.4434 | 0.0096471 | 11750.5781 | Data Not Available | 7333 | Data Not Available | 5855
2025-06-29 21:00 | 0.015276 | 11746.9453 | 0.011481 | 11603.4717 | Data Not Available | 7339 | Data Not Available | 5852
2025-06-29 22:00 | 0.022329 | 11661.2715 | 0.0095188 | 11513.8047 | Data Not Available | 7336 | Data Not Available | 5852
2025-06-29 23:00 | 0.0049285 | 11566.5469 | 0.0075549 | 11402.1934 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-30 | 0.015197 | 11434.0527 | 0.0074107 | 10.3637 | Data Not Available | 7330 | Data Not Available | 5855
2025-06-30 01:00 | 0.0064447 | 11409.1387 | 0.0073497 | 11236.6338 | Data Not Available | 7336 | Data Not Available | 5855
2025-06-30 02:00 | 0.0039608 | 11425.4414 | 0.0074464 | 11271.3555 | Data Not Available | 7346 | Data Not Available | 5859
2025-06-30 03:00 | 0.0059868 | 11441.7422 | 0.0074925 | 11293.4717 | Data Not Available | 7336 | Data Not Available | 5859
2025-06-30 04:00 | 0.0051704 | 11462.6895 | 0.0093532 | 11316.9844 | Data Not Available | 7342 | Data Not Available | 5859
2025-06-30 05:00 | 0.0068475 | 11490.2461 | 0.0095053 | 11339.7891 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-30 06:00 | 0.016439 | 11580.1641 | 0.0095804 | 11443.8604 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-30 07:00 | 0.018448 | 11653.0215 | 0.0095843 | 11518.1797 | Data Not Available | 7333 | Data Not Available | 5862
2025-06-30 08:00 | 0.023768 | 11624.7441 | 0.011282 | 11481.6299 | Data Not Available | 7326 | Data Not Available | 5862
2025-06-30 09:00 | 0.025387 | 11543.5957 | 0.011073 | 11402.7461 | Data Not Available | 7333 | Data Not Available | 5852
2025-06-30 10:00 | 0.026055 | 11494.3711 | 0.010951 | 11360.1855 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-30 11:00 | 0.020551 | 11494.7324 | 0.012692 | 11357.2188 | Data Not Available | 7320 | Data Not Available | 5833
2025-06-30 12:00 | 0.018919 | 11551.3262 | 0.0090583 | 11431.458 | Data Not Available | 7307 | Data Not Available | 5830
2025-06-30 13:00 | 0.018422 | 11612.9688 | 0.010917 | 15.6406 | Data Not Available | 7314 | Data Not Available | 5833
2025-06-30 14:00 | 0.022971 | 11673.4473 | 0.0091744 | 11560.1924 | Data Not Available | 7311 | Data Not Available | 5839
2025-06-30 15:00 | 0.013793 | 11714.3027 | 0.0092708 | 11606.3633 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-30 16:00 | 0.024645 | 11762.7656 | 0.01123 | 11657.2041 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-30 17:00 | 0.018605 | 11762.8066 | 0.01126 | 11637.1934 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-30 18:00 | 0.027012 | 11608.2812 | 0.012987 | 11455.626 | Data Not Available | 7320 | Data Not Available | 5846
2025-06-30 19:00 | 0.032901 | 11437.416 | 0.012619 | 11270.8994 | Data Not Available | 7320 | Data Not Available | 5843
2025-06-30 20:00 | 0.020197 | 11282.9727 | 0.012204 | 11106.2832 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-30 21:00 | 0.015801 | 11152.8418 | 0.011932 | 10976.1621 | Data Not Available | 7323 | Data Not Available | 5843
2025-06-30 22:00 | 0.012812 | 11116.1133 | 0.0085667 | 13.1016 | Data Not Available | 7311 | Data Not Available | 5846
2025-06-30 23:00 | 0.0098188 | 11136.6992 | 0.0070215 | 10990.3037 | Data Not Available | 7323 | Data Not Available | 5849